Table of Water Quality/Quantity Parameters Monitored to Date

Miller and Walker Creeks

May 14, 2009

| Parameter | Miller Creek | Walker Creek | Where monitored | When monitored | Continuous or grab sample | Who | Name of report if applicable | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Quantity |  |  |  |  |  |  |  |  |
| Flow | X | X | Miller at S.W. 175th Pl. (gage 42a) Miller Creek Detention Facility (gage 42b) Miller at SR509/Port boundary above Des Moines Memorial Drive (gage 42j) Miller at Lake Reba Walker at 13th Ave. S.W. (gage 42e) Walker below SR509 (gage 42k) | 1988 – present 1989-present 2006-present 2006-present 1992-1996; 2000-present 2006-present | Continuous | King County (funded by Port of Seattle) for all except Miller at Lake Reba (Taylor Associates) |  |  |
| Biological |  |  |  |  |  |  |  |  |
| Acute and sublethal toxicity sampling |  |  |  |  |  | Port of Seattle |  |  |
| Benthic Index of Biotic Integrity (B-IBI) | X |  | Miller: one location south of S. 160th St. | 2003-2006 | N/A | Port of Seattle | 2006 Low Flow Biological Monitoring Data Report for Miller, Des Moines, and Walker Creeks (2007) | Walker BIBI was not conducted as the habitat east of SR 509 is not suitable |
| Benthic Index of Biotic Integrity (B-IBI) | X |  | Miller: above SR518 Miller: below S. 156th St. Miller: near 8th Ave. S. | 2004-2006 | N/A | Port of Seattle | Comprehensive Receiving Water Study (2008) |  |
| Benthic Index of Biotic Integrity (B-IBI) | X | X | Miller: south of S.W. 175th Pl. and at confluence with Walker (Normandy Park Community Club) Walker: south of 13th Ave. S.W. (Normandy Park Swim Club) | Miller: 2005, 2006 Walker: 2008 | N/A | Andy Batcho, Tony Cassarino, and Jim Pitts |  |  |
| Fish use | X | X | Miller: one location south of 160th | 2003-2006 | Electrofishing and video | Port of Seattle | 2006 Low Flow Biological Monitoring Data Report for Miller, Des Moines, and Walker Creeks (2007) | Walker Creek location had no fish use due to unsuitable habitat (small size and depth) |
| Fish use | X | X | Mouth to upper limits of potential fish use | May 2003 | Electrofishing | Wild Fish Conservancy (formerly Washington Trout) | On-line |  |
| Physical habitat features | X | X | Miller: one location south of 160th Walker: one location east of SR509 | 2003-2006 | N/A | Port of Seattle | 2006 Low Flow Biological Monitoring Data Report for Miller, Des Moines, and Walker Creeks (2007) | Includes pool-riffle, bank condition, wood structure/ frequency info |
| Physical habitat features using U.S. Forest Service methodology | X |  | Miller from S.W. 175th Pl. to the mouth | 1993 and 2008 | N/A | Trout Unlimited | Data available in spreadsheets; contact is Andy Batcho | Includes riffle-to-pool ratio, pool quality index (width of pool, depth of pool, amount of overhanging vegetation), large woody debris, substrate type, habitat 100 feet on either side of the stream, habitat types including riffles, runs, pools, and glides, and channel width and depth |
| Conventional |  |  |  |  |  |  |  |  |
| Biochemical oxygen demand (BOD) | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 - present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| Chemical oxygen demand (COD) | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | ??? | ??? | Port of Seattle | ??? | BOD can be used as an indicator for COD if a high correlation is proven |
| Dissolved oxygen, pH , temperature – water, conductivity | X |  | Miller above Lake Reba Miller below Lake Reba Lake Reba | 2005-2007 | Grab and continuous monitoring | Port of Seattle | Comprehensive Receiving Water Study (2008) | NEED TO CONFIRM THIS IS NOT DUPLICATIVE OF LISTING BELOW |
| BOD, COD, dissolved oxygen, TSS, hardness, temperature –water, pH, total and dissolved copper, total and dissolved lead, total and dissolved zinc, diesel, motor oil | X |  | Miller above Lake Reba Miller below Lake Reba Lake Reba | 2005-2007 | Grab (first flush) and event mean concentration (storm event composite samples) | Port of Seattle | Comprehensive Receiving Water Study (2008) | Samples taken during storm events on monthly basis when conditions allowed (year-round event-based sampling) |
| Dissolved oxygen, hardness, temperature –water, turbidity, pH, phosphorous, nitrate, CO2, silica | X | X | Miller at SR 509/Des Moines Memorial Drive Miller at First Ave. S. Miller at Kludt house (S.W. 175th Pl.) Miller at The Cove Walker at Ambaum Blvd. Walker at The Cove | November 2004 – August 2005 | Grab - monthly | City of Normandy Park (RCAA) | Data in spreadsheet | See December 5, 2005 memo from Greg Wingard commenting on this sampling approach |
| Dissolved oxygen (DO) | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| Ammonia-Nitrogen (NH3_N) | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| Dissolved oxygen | X | X | Miller at S.W. 175th Pl. (gage 42a) Miller at Lake Reba (Miller Creek Detention Facility) (gage 42b) Miller at SR509/Port boundary above Des Moines Memorial Drive (gage 42j) Walker at 13th Ave. S.W. (gage 42e) Walker below SR509 (gage 42k) | 2000-present (except gages 42j and 42k: 2006-present) | Grab, 8-10 times per year when flow data are retrieved | King County | On line | Collection has been inconsistent; data are missing for months at a time |
| Dissolved oxygen | X |  | Miller at Southwest Suburban Sewer District plant | 2004-present | Grab, weekly | Southwest Suburban Sewer District | Data in spreadsheet |  |
| Conductivity | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| Conductivity | X | X | Miller at S.W. 175th Pl. (gage 42a) Miller at Lake Reba (Miller Creek Detention Facility) (gage 42b) Miller at SR509/Port boundary above Des Moines Memorial Drive (gage 42j) Walker at 13th Ave. S.W. (gage 42e) Walker below SR509 (gage 42k) | 2000-present (except gages 42j and 42k: 2006-present) | Grab, 8-10 times per year when flow data are retrieved | King County | On line | Collection has been inconsistent; data are missing for months at a time |
| Fecal coliform | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line | Standard exceeded three times in 2006; four times in 2004 |
| Fecal coliform | X |  | Miller at Southwest Suburban Sewer District plant | 2004-present | Grab, weekly | Southwest Suburban Sewer District | Data in spreadsheet |  |
| Nitrate+Nitrite-Nitrogen (NO2-NO3) | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| Nitrogen, total persulf (TPN) | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| pH | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 - present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| pH | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line | Standard exceeded one time in 2006 |
| pH | X |  | Miller at Southwest Suburban Sewer District plant | 2004-present | Grab, weekly | Southwest Suburban Sewer District | Data in spreadsheet |  |
| Phosphorous, total (TP_P_ICP) | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| Phosphorous, Sol Reactive (OP_DIS) | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| Rain gage | n/a | n/a | Lake Reba | 1990-present | Continuous | ? |  |  |
| Suspended solids (SUSSOL) | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| Temperature, air | X | X | Miller at S.W. 175th Pl. (gage 42a) Miller at Lake Reba (Miller Creek Detention Facility) (gage 42b) Walker at 13th Ave. S.W. (gage 42e) | 2000-present | Grab, during data collection | King County | On line | Collection has been inconsistent; data are missing for months at a time |
| Temperature, water | X |  | Miller at Southwest Suburban Sewer District plant | 2004-present | Grab, weekly | Southwest Suburban Sewer District | Data in spreadsheet |  |
| Temperature, water | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Continuous (also grab – monthly) | WA Dept. of Ecology | On line |  |
| Temperature, water | X | X | Miller at S.W. 175th Pl. (gage 42a) Walker at 13th Ave. S.W. (gage 42e) | 2000-present | Continuous | King County | On line |  |
| Temperature –water, turbidity | X | X | Miller at SR 509/Des Moines Memorial Drive Miller at First Ave. S. Miller at Kludt house (S.W. 175th Pl.) Miller at The Cove Walker at Ambaum Walker at The Cove | November 2004 – November 2005 | Grab - monthly | City of Normandy Park (RCAA) | Data in spreadsheet |  |
| Total Petroleum Hydrocarbons (TPH) | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 - present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| Total Suspended Solids (TSS) | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 - present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| Turbidity | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab - monthly | WA Dept. of Ecology | On line |  |
| Turbidity | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 - present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| Metals |  |  |  |  |  |  |  |  |
| Hardness | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 – present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| Hardness | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab – bi-monthly | WA Dept. of Ecology | On line |  |
| Copper, total recoverable | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab – bi-monthly | WA Dept. of Ecology | On line |  |
| Copper, dissolved | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab – bi-monthly | WA Dept. of Ecology | On line |  |
| Copper (Cu) | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 - present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| Lead (Pb) | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 - present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| Lead, total recoverable | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab – bi-monthly | WA Dept. of Ecology | On line |  |
| Lead, dissolved | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab – bi-monthly | WA Dept. of Ecology | On line |  |
| Zinc (Zn) | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | 1994 - present | Grab and/or flow-weighted composite | Port of Seattle | Monthly discharge monitoring reports | During 2002-2006, about 25 samples per year |
| Zinc, total recoverable | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab – bi-monthly | WA Dept. of Ecology | On line |  |
| Zinc, dissolved | X |  | Miller at S.W. 175th Pl. | 2004, 2006 | Grab – bi-monthly | WA Dept. of Ecology | On line |  |
| Priority pollutants | X |  | Outfall to Lake Reba (SDN1, SDN2, SDN3, SDN4) | ~1998 - present | Grab and/or flowweighted composite | Port of Seattle | On line | 1 to 2 times every 5 years |

Other data collected/monitoring

- Department of Ecology in 2004 and 2006 sampled for the following metals at Miller Creek at S.W. 175th St.: silver, dissolved; silver, total recoverable; arsenic, dissolved; arsenic, total recoverable; cadmium, total recoverable; cadmium, dissolved; chromium, total recoverable; chromium, dissolved; mercury, total; nickel, total recoverable; nickel, dissolved

- Lake monitoring includes monitoring:

  - Lake Reba during 2005-2007 as part of the Comprehensive Receiving Water and Stormwater Runoff Study, 2008.  Parameters studied included temperature, DO, conductivity, pH, turbidity, TSS, aquatic macrophytes, and elevation

  - Lake Burien by volunteers in 1994, 1998, and 2000-2004 included phosphorous, nitrogen, chlorophyll, and temperature (http://www.metrokc.gov/dnrp/wlr/water-resources/small-lakes/data/LakePage.aspx?SiteID=43)

Reports with relevant information

- Department of Ecology sampling results for 2004 and 2006 available on-line at: http://www.ecy.wa.gov/apps/watersheds/riv/station.asp?theyear=2006&tab=notes&scrolly=272&wria=09&sta=09D070&docextension=.xls&docextension=.xls; had substantial exceedances for FC and one for pH; Water Quality Index is 26 (poor)

- Wild Fish Conservancy (formerly Washington Trout) stream typing survey, encompassing stream parameters, habitat conditions, and fish presence May 2003 available on-line at:  http://www.washingtontrout.org/kcpuget/index.shtml

- Annual Stormwater Monitoring Report Seattle-Tacoma International Airport for the Period July 1, 2006 through June 30, 2007, Port of Seattle, October 1, 2007

- Sublethal Toxicity Testing of Ambient Samples Downstream of Stormwater Outfalls near the Seattle-Tacoma International Airport (2004 to 2007), prepared by Nautilus Environmental for Port of Seattle, February 1, 2008

- Acute Toxicity Testing of Stormwater Samples from the Seattle-Tacoma International Airport, prepared by Nautilus Environmental for Port of Seattle, January 28, 2008

- 2006 Low Flow Biological Monitoring Data Report for Miller, Des Moines, and Walker Creeks, prepared by Parametrix for Port of Seattle, April 2007

- 2006-2007 Construction Stormwater Annual Report, Port of Seattle, October 1, 2007

- Comprehensive Receiving Water and Stormwater Runoff Study, prepared by CH2M Hill for Port of Seattle, April 2008

- Comprehensive Receiving Water and Stormwater Runoff Study – Effects of Airport Ground Surface Deicing Biochemical Oxygen Demand on Receiving Water Dissolved Oxygen, prepared by Taylor Associates, Inc. for Port of Seattle, April 2008

- Derivation of Site-Specific Water Quality Objectives and Effluent Limits for Copper in Stormwater, prepared by Nautilus Environmental for Port of Seattle, April 2008

- Derivation of Site-Specific Water Quality Objectives and Preliminary Effluent Limits for Zinc in Stormwater, prepared by Nautilus Environmental for Port of Seattle, April 2008

- Seattle-Tacoma International Airport Phase I Groundwater Study Report, Draft February 15, 2005

Other reports with possibly relevant information and summaries of selected data also included in table above (excerpted from Miller and Walker Creek Basin Plan – Executive Proposed: Appendix F)

Summary Report of Preliminary Data Collected for the Site- Specific Water Quality Assessment (SSA) Study.

Seattle-Tacoma International Airport, June 2002

In-stream concentrations of dissolved Zinc (Zn) and Copper (Cu) were measured at various locations in Miller and Walker Creeks.

Up to four baseflow samples and up to five stormflow samples were analyzed at each sampling location.

Miller Creek sampling locations included:

1. 	outfall from Lake Reba Stormwater Facility;

2. 	below the mixing zone from the Lake Reba Stormwater Facility outfall;

3. 	Miller Creek at 8th Street (below current & future drainages to Miller Creek); and

4. 	upstream of Lake Reba Stormwater Facility (background to airport discharges to Lake Reba Stormwater Facility); only one stormwater sample analyzed.

Walker Creek sampling locations include:

1. near the 176th Street overpass; and

2. at the 171st Street overpass.

Several samples were collected during each event. In total, eleven baseflow and 19 storm events/locations were analyzed. There were no exceedances of Washington State Surface Water Quality Standards.

Dissolved Oxygen (DO)/Deicing Reports prepared for the Port of Seattle:

Dissolved Oxygen Deicing Study, August 1999

1. Examining the Effects of Runway Deicing on Dissolved Oxygen in Receiving Waters: Results of the 1999-2000 Winter Season, Volume 1, November 2000.

2. Examining the Effects of Runway Deicing on Dissolved Oxygen in Receiving Waters: Results of the 1999-2000 Winter Season, Volume 2, January 2001.

The Port conducted two seasons of monitoring the effects of deicers on DO. The reports showed that the DO levels in Lake Reba Stormwater Facility fluctuated during storm events, but could not conclude that the fluctuations were a result of deicing operations.

Master Plan Update for Improvements at the Seattle-Tacoma International Airport, Biological Assessment, June 2000.

Includes habitat assessments in Miller and Walker Creeks.

Fact Sheet for NPDES Permit WA-002465-1; Facility Name: Sea-Tac International Airport; Washington Department of Ecology

(Ecology).

This Fact Sheet was prepared by Ecology as background information to develop/issue the Port’s revised NPDES permit.  The report summarizes monitoring data that has been submitted as a requirement of the NPDES permit, and describes drainage infrastructure stormwater BMPs.

King County Stormwater Sampling

King County sampled stormwater at 17 locations within the Miller and Walker Creek Basins during four storm events between 1991

and 1993. These samples were analyzed for conventional water quality parameters, bacteria, and total metals.

- Metals (Copper and Zinc): During the time that the samples were taken, the Washington Surface Water Standards for toxic

metals were based on total metal concentration. This standard has subsequently changed to being based on the dissolved fraction.  Results, using total metal standards in effect at the time, showed exceedances in most samples, with particularly high metal concentrations at locations in Miller Creek north of SR518, adjacent to SR509 at S 136th Street, and at Ambaum Pond.

- Turbidity, total suspended solids (TSS), and bacteria (fecal coliform): Turbidity and TSS were relatively low for stormwater.

Fecal coliform bacteria exceeded the surface water standard (100 colonies per 100 ml) in all instances.

- King County Sediment Sampling

Sediment samples were taken at eight locations throughout the basin. Samples were analyzed for semivolatile organics, oil and

grease, total petroleum hydrocarbons, pesticides/herbicides, PCBs, and metals. Results for all constituents were low and did not

indicate problems.

Southwest Suburban Sewer District

Southwest Suburban routinely monitors instream water quality adjacent to the treatment plant located on Miller Creek. Routine monitoring includes analysis for Dissolved Oxygen (DO), temperature, pH, and Fecal Coliform bacteria. Fecal Coliform bacteria counts exceed the standard consistently, even at baseflow, and are the highest during storm events. DO and temperature have exceeded the standards during summer months. pH is within an acceptable range.

USGS Pesticide Sampling

United States Geologic Service (USGS). USGS studied several urban streams in the Puget Sound region for the presence of

pesticides. Miller Creek was one of the urban streams sampled.  Three stormwater samples were tested for the presence of

pesticides in 1998.

Six pesticides were detected in Miller Creek: Atrizine, Matolachlor, Prometon, Carbaryl, Diazinon, and Malathion. Both

Carbaryl and Diazinon exceeded the recommended chronic toxicity criteria. Atrazine and Malathion did not exceed the

recommended toxicity criteria. No aquatic toxicity criteria were available for Metolachlor or Prometon. The effects of pesticides in

very low concentrations to aquatic organisms is not well understood. Several studies have indicated that low levels of pesticides may have sub-lethal behavioral effects. It is also speculated that low levels of pesticides may contribute to prespawn mortality observed in coho utilizing the streams.

Toxicity (bioassay) testing was not performed for Miller Creek.  However, toxicity testing was performed for Lyon Creek, a

tributary to Lake Washington located in southern Snohomish County and Lake Forest Park; it showed chronic toxicity to

Ceriodaphnia dubia and Selenastrum capricornuntum. The toxicity could not be directly attributed to the pesticides. Lyon

Creek had similar pesticide concentrations to those detected in Miller Creek.

Whereas most of the pesticides detected are available for residential use, Atrazine has little or no retail sales in King County

according to a 1997 survey of pesticide sales. This indicates that this Atrazine may be applied in non-residential uses such as rights-of-

way areas.

DOE Water Quality Monitoring Station 09D070

The Department of Ecology sampled near the mouth of Miller Creek in 2004 (and again in 2006). This non-storm event sampling indicated exceedances above the standard for Fecal Coliform bacteria.  Based on this data, Miller Creek was listed as water quality impaired for Fecal Coliform. Metal concentrations did not exceed the standards.